## Slide 1
Examples of 2.5 MeV neutron interaction sequence in LArTPC
enters the detector, scatters elastically multiple times and exits the detector.
captured on Ar and performs 40Ar(n,n’)40Ar process.
40Ar(n,n’)40Ar vertex
’
10 cm
10 cm
10 cm
10 cm
Notes: Here are the lessons learned so far in my summer project. First, a couple of examples of neutron interaction cascade in LArTPC in the relevant energy range for protoDUNE

## Slide 2
Examples of 2.5 MeV neutron interaction sequence in LArTPC
enters the detector, scatters elastically and exits the detector.
enters the detector, scatters elastically multiple times and exits the detector.
captured on Ar and performs 40Ar(n,n’)40Ar process.
vertex
’
20 cm
20 cm
20 cm
20 cm
20 cm
Geant4 interaction example ( 2.5 MeV)

## Slide 4
Detector size 1x1x1 meter
Stopped neutrons have energy = 0
In 58% of events there was an process
Back scattering peak
LAr

## Slide 13
Detector size 1x1x1 meter

## Slide 14
Detector size 1x1x1 meter

## Slide 15
Detector size 1x1x1 meter

## Slide 16
Detector size 0.5x0.5x0.5 meter

## Slide 17
Detector size 0.5x0.5x0.5 meter
Stopped neutrons have energy = 0
In 45% of events there was an process
Back scattering peak
0 interaction neutrons

## Slide 18
Detector size 0.5x0.5x0.5 meter

## Slide 19
Detector size 0.5x0.5x0.5 meter

## Slide 20
Detector size 0.5x0.5x0.5 meter

## Slide 21
Detector size 1x2x2 meter
(thickness = 1m)

## Slide 22
Detector size 1x2x2 meter
(thickness = 1m)
Stopped neutrons have energy = 0
In 62% of events there was an process
Back scattering peak

## Slide 23
Detector size 1x2x2 meter
(thickness = 1m)

## Slide 24
Detector size 1x2x2 meter
(thickness = 1m)

## Slide 25
Detector size 1x2x2 meter
(thickness = 1m)
Only for primary neutrons (didn’t perform (n,n’))

## Slide 26
Only for primary neutrons (didn’t perform (n,n’))

## Slide 27
Only for primary neutrons (didn’t perform (n,n’))

## Slide 30
100k events
Back scattering peak
0 interaction neutrons

## Slide 31
100k events

## Slide 32
Distribution does not include secondary neutrons
Primary neutrons,

## Slide 33
Distribution also includes secondary neutrons
pvalue=0.79

## Slide 34
Of primary neutrons with
No data here since neutron speed is capped at initial neutron speed with
No data here since this graph only looks at primary neutrons (trackID =1), meaning only neutrons which did not perform (n,n’), also really slow neutrons(low kinetic energy) can be captured by nuclei.
Only for primary neutrons (didn’t perform (n,n’))

## Slide 35
Also includes secondary neutrons (n’)

## Slide 36
No protons exit the detector, though some are created in (n,p) process with Argon 36

## Slide 39
1.46 MeV
40Ar 2+ -> 0+
659.9 keV
40Ar 0+ band 2 -> 2+ band 1
Minimum photon energy = 218 eV
2
1.29 MeV
41K 7/2- -> 3/2 +
41K created by 41Ar decay
41Ar created by nCapture on 40Ar
e-e+ created by pair production first and then annihilate to create gamma rays

## Slide 40
1.46 MeV
40Ar 2+ 0+
660 keV
40Ar 0+ 2+
2
1.29 MeV
41K 7/2- -> 3/2 +
Example gamma production by n-LAr:
40Ar + n 41Ar decay 41mK 41K +

## Slide 44
LAr
Primary

## Slide 50
Chart: Interaction statistics
| elastic | (n,n')
מכירות | 10153 | 2030
neutron
50 mm
Chart: Interaction statistics
| interaction | no interaction
מכירות | 12183 | 987817
Creus et al. , JINST 10 (2015)
Our geant4 simulation-
Emulating the LAr cell size(roughly)
?
Consequence -
In the paper they neglect inelastic scatters because they use elastic kinematics in order to calculate nucleus recoil, and thus in 17% of events they have an error in their calculations.

## Slide 51
My geant4 simulator
Article experimental setup
in the experiment there is also a 1.5mm aluminium layer around the sensitive volume of LAr, but the effect on the neutrons is minimal(sub percent)
Also, in reality the beam is collimated into 0.2% 4pi steradians which gives an effective surface area of of neutrons hitting the LAr, and in my simulator I use a pencil beam (0 width)
LAr cell
5’’ liquid scintillator

## Slide 53
Article experimental setup
Nucleus dist.

## Slide 56
Liquid scintillator placed at angle relative to LAr cell,
Showing the neutron scattering angle distribution within the active volume of the cell without external scatters

## Slide 57
Comparison of my simplified simulator time of flight distribution for different event types vs Creus et al. , JINST 10 (2015)
General trend is the same.

## Slide 58
After time of flight cut -

## Slide 59
Chart: Event Types after time of flight cut – 25 degree scatter
| single elastic | multiple elastic | single elastic+external
Event Types | 2448 | 295 | 366

## Slide 62
Single elastic
Single elastic and external
Multiple elastic
This work (simplified geometry)
Creus et al. , JINST 10 (2015)

## Slide 63
https://www.sciencedirect.com/science/article/pii/S0927650516302341

## Slide 64
In order to make sure we understand how to properly set the required parameters for scintillation light in geant4, we first want to make some sanity checks.
First and foremost, we want to see that the distribution of the amount of scintillation photons created matches the parameter we set for the SCINTILLATIONYIELD.
Doing this we run into a problem – we don’t seem to get the right amount of photons.
The following slides explain why that is

## Slide 65
When setting the SCINTILLATIONYIELD of a material in geant4, geant takes into account the birks constant when calculating how many scintillation photons to produce in an event, even for electrons. This means you will see fewer scintillation photons than your input parameter.
Even if you set birks constant = 0, the physics package overrides and sets the LAr birks constant = 0.032 mm/MeV
This tracks according to the data we gathered – using the average path length of the primary electron in the detector(with , we can calculate the light yield attenuation assuming birks constant = 0.032 using:
if you can the amount of scintillation photons per event, you can deduce the attenuation of the light yield by
This comes out to be around 1.012 when checking each photon individually by its track and 1.008 using the process vector->GetNumPhotons method.

## Slide 66
Using processVector->getNumPhotons
Checking each track individually

## Slide 67
Finally, when setting birks constant to a really small number, but not 0, so that the physics package does not override it, you see a distribution centered around 51000 photons per event as expected:

## Slide 68
Moving on, we want to perform extra sanity checks. We start by firing a 1 MeV electron directly in the center of our LAr cylinder.
Firstly, the emitted scintillation photons’ wavelength – this distribution matches the parameters we set – centered around 128nm wavelength for the emission spectra.

## Slide 69
Next, looking at the emission timing of the scintillation photons, with fast component set to 7ns and slow component set to 1500ns:

## Slide 70
Next, the scintillation photons’ angular distribution, separated to spherical angles and .

## Slide 71
And finally, looking at the positions in which the scintillation photons were created and seeing they roughly match the track of the primary electron:

## Slide 72
Now we can safely move on to try and fully recreate the findings of Creus et al.
We first try to emulate PMTS and coincidence between them in the following way – we ask how many photons reached each base of the LAr cylinder (in their research there are 2 PMTS surrounding each base), and in order to take into account the QE of the TPB and PMT we roll a random number in a uniform distribution in the range (0,1) and if it is < 0.25 we say the photon was absorbed inside the pmt.
In order to ask if there was coincidence between the PMTs, we look at the time difference of photons reaching the top PMT and the bottom PMT, and if in an event we get a time difference that is smaller than (where c is the speed of light, n is the refractive index of LAr , and h is the height of the cylinder), we say that there is coincidence in the event.
The following plots are for a primary electron:

## Slide 73
The following plots are for a primary proton:
The rest of the plots are pretty similar to the electron plots. The main difference is in the positions in which the scintillation photons are created – a proton primary deposits most of its energy over a very short distance relative to the electron, and so all scintillation photons are created very close to the center of the LAr cylinder (that is also the reason the scintillation yield is smaller for a proton relative to an electron)

## Slide 74
The plan now is to go back and recreate table 4 from the swiss paper.
This requires calculating the light yield from nuclear recoils and from electron recoils at 6 different energies.
For neutrons the light yield is calculated for the 6 different scattering angles in the time of flight cut (in order to isolate elastic events). The PMT QE is roughly 15% according to Creus et al. , and the reflector used “is nearly a 100% diffuse Lambertian reflector” [The ArDM Collaboration et al 2009 JINST 4 P06001]. We will set the reflectivity between 97-98%.
In order to calculate the light yield for the electron recoils, we will first make a calibration graph. We will use the 60keV photopeak from 241Am, 122 keV photopeak from 57Co, and the 341keV, 478keV and 1061keV Compton edges from 22Na, 137Cs and 22Na respectively.

## Slide 75
Calculating Compton edges for 22Na, 137Cs gamma rays:
In a Compton scattering process, an incident photon collides with an electron in a material. The amount of energy exchanged varies with angle, and is given by the formula:
E is the energy of the incident photon
E’ is the energy of the outgoing photon
is the angle of deflection for the photon.
The energy of the electron is then calculated by E – E’, and a Compton edge is formed at a deflection angle of 180 degrees.
Thus,
Plugging the numbers for gamma rays with energies 511keV, 662keV and 1274keV we get Compton edges :
Compton Edge (511keV) =
Compton Edge (662keV) =
Compton Edge(1274keV) =

## Slide 76
We now want to be able to extract the light yield from this histogram. In order to do that we average the two PMTs and then fit a
Gaussian around the photopeak to find the mean and the std.
This is an example of a scintillation yield histogram for a 60keV gamma ray.

## Slide 78
If we were to look at the energy deposit of the photon, we would expect to see a sharp peak at the photopeak energy , like this:

## Slide 79
With 122keV photon we first see a Compton edge on the left, and then a photopeak on the right.
Photopeak
Compton Edge

## Slide 80
At higher photon energies we can no longer see a photopeak, since the Compton scatter integral is considerably larger than the photopeak.

## Slide 81
And so in order to extract the light yield, we have to use the Compton Edge instead of a photopeak.
Looking at the scintillation yield, after the peak we see a soft drop off, whereas if we were to look at the energy deposit we see a sharper drop off which is after the Compton Edge energy -
Sharper drop - off
This is because the number of scintillation photons created by a specific energy deposit varies around the mean. The actual scintillation yield is located half way in the drop off after the peak in the scintillation histogram.

## Slide 82
This is exemplified by the following graph, which shows that the convolution of a step function(Compton Edge) with a Gaussian(number of scintillation photons created) gives a function whose y value is half the peak of the gaussian at the x coordinate of the step function edge/gaussian peak.

## Slide 83
22
22
1
24

## Slide 84
22
22
1
24

## Slide 85
We now need to calculate the scintillation yield from nuclear recoils , using histograms such as this –
Looking only at events that are in the time-of-flight cut between 42 and 49 ns, that were detected in the liquid scintillator, located at a angle relative to the LAr cell.

## Slide 86
We do this by fitting a gaussian to the area around the peak of the graph, like so:

## Slide 87
Now, in order to reconstruct Table 3 from Creus et al. , we use the fit we got of the electron recoil energy vs. scintillation yield, to calculate the scintillation yield from electron recoils at the 6 nuclear recoil energies corresponding to the 6 neutron scattering angles.
For example,
Assuming a line equation of the form for the electron recoil graph,
, where a and b are obtained from the fit
, where da and db are obtained from the fit
and is obtained from the gaussian fit to the scintillation yield histogram from nuclear recoils
and is obtained from the gaussian fit to the scintillation yield histogram from nuclear recoils
Using these, we get

## Slide 88
For photopeak datapoints:
or search google for uncertainty on polynomial curve fit
For Compton edges:
= from gaussian fit on the simulated nucleus recoil energies at the specific scattering angle in the time of flight cut

## Slide 89
Er light yield – gaussian sigma of 60keV
Nr light yield – gaussian sigma of 11.5keV
Quote from reference 19 in Creus et al. – G. Plante , The XENON100 Dark Matter Experiment: Design, Construction, Calibration and 2010 Search Results with Improved Measurement of the Scintillation Response of Liquid Xenon to Low-Energy Nuclear Recoils

## Slide 90
 | (sim) |  | (normalized) | (normalized) |  | 
 |  | 11.5 | 0.371 | 0.130 |  | 
 |  | 16.4 | 0.319 | 0.102 |  | 
 |  | 28.5 | 0.242 | 0.072 |  | 
 |  | 43.3 | 0.200 | 0.055 |  | 
 |  | 60.5 | 0.175 | 0.045 |  | 
 |  | 119.5 | 0.130 | 0.028 |  | 
 |  | 11.5 | 0.371 | 0.130 |  | 
 |  | 16.4 | 0.319 | 0.102 |  | 
 |  | 28.5 | 0.242 | 0.072 |  | 
 |  | 43.3 | 0.200 | 0.055 |  | 
 |  | 60.5 | 0.175 | 0.045 |  | 
 |  | 119.5 | 0.130 | 0.028 |  | 
G. Plante et al.
Creus et al.

## Slide 91
?
Out attempts at reconstructing
Creus et al.

## Slide 92
Trying to recreate these plots in order to better understand

## Slide 95
Resolution smearing
PMT smearing (0.4, Creus et. al.)

## Slide 96
Extracting parameters and R from the data
Average number of photons per energy deposit
PMT Quantum Efficiency
Creus et al. , JINST 10 (2015)
Fraction of optical photons that reached PMTs
Notes: Gamma ray energy deposit might not be exactly 59.5 keV, due to losses to aluminium layer etc. . This wasn’t explicitly tested in Geant4.

## Slide 97
Extracting parameters and R from the data
Notes: Gamma ray energy deposit might not be exactly 59.5 keV, due to losses to aluminium layer etc. . This wasn’t explicitly tested in Geant4.

## Slide 99
best $L_{eff}$ = 0.30303030303030304 + 0.019730673055900882 - 0.08102518877609868
best R = 2.101010101010101 + 0.16261544728451022 - 0.14578538448260853
min chi square = 9.87941696572526

## Slide 100
best $L_{eff}$ = 0.3333333333333333 + 0.052425608670233326 - 0.031079547480697623
best R = 3.1818181818181817 + 0.07985671281855733 - 0.06807418440338073
min chi square = 19.941905530066908

## Slide 101
best $L_{eff}$ = 0.3414141414141414 + 0.05203922766723607 - 0.05514820817406231
best R = 3.666666666666667 + 0.18910804118193747 - 0.08184188769930431
min chi square = 11.81445114678306

## Slide 102
best $L_{eff}$ = 0.32323232323232326 + 0.06847845981941222 - 0.03721995250950373
best R = 4.696969696969697 + 0.09108838884394369 - 0.3052807962427986
min chi square = 1.4330374470225684